## Estimate - Full (for Coaches)
ESTIMATE
| PROJECT: | Support Services Building |  | COMPANY:
| ADDRESS: | 15200 Neabsco Mills Rd. |  | PHONE NO.:
|  | Woodbridge, VA 22191 |  | ADDRESS:
| SYSTEM: | Roofing
| WORK AREA: | All (new construction)
| DIVISION: | 7 (CSI), D (Uniformat) |  | ESTIMATOR:
| Gross SF: | 8359 |  | DATE: |  | 2014-10-22
DESCRIPTION | QUANTITY | UNIT | MATERIALS | LABOR | SUB | TOTAL COST
Mobilization | 1 | EA | 300 | 300 | 400 | 1000
Fall Protection | 1 | LS | 1500 | 600 | 0 | 2100
Dumpster | 1 | EA | 100 | 300 | 350 | 750
Power/Generator | 1 | MTH | 500 | 100 | 0 | 600
Lift or Crane | 1 | MTH | 375 | 4000 | 6000 | 10375
Standing Seam Metal Roofing | 7060 | SF | 1059 | 19415 | 7766 | 28240 | ArchEx & CSI
Standing Seam Metal Siding Panels | 1917 | SF | 383.4 | 5271.75 | 2108.7 | 7763.85 | ArchEx & CSI
Snowguards | 195 | LF | 1950 | 1950 | 0 | 3900 | ArchEx & CSI
TPO Membrane Roofing | 2070 | SF | 414 | 9108 | 3829.5 | 13351.5 | ArchEx & CSI
Overflow Drain Tongues | 5 | EA | 500 | 150 | 0 | 650
Gutters | 191 | LF | 1146 | 1146 | 0 | 2292
Downspouts | 70 | LF | 420 | 420 | 0 | 840
Cast Iron Boots | 4 | EA | 1400 | 300 | 0 | 1700 | ArchEx & CSI
SUBTOTALS |  |  | 10047.4 | 43060.75 | 20454.2 | 73562.35
LABOR BURDEN ON LABOR | 40% | % |  |  |  | 4018.96
SMALL TOOLS | 1.966% | % |  |  |  | 1446.2358 | ArchEx & CSI
TOTAL DIRECT COST | [5 empty] | 79027.5458
OVERHEAD | 18% | % |  |  |  | 14224.9582 | ArchEx & CSI
PROFIT | 13% | % |  |  |  | 10273.581 | ArchEx & CSI
INSURANCE & BOND | 5% | % |  |  |  | 3951.3773 | ArchEx & CSI
SALES TAX ON MATERIAL | 5.3% | % |  |  |  | 2282.2197
TOTAL COST | [5 empty] | 109759.682
Assumptions:
10% Waste on Metal
8% Waste on Membrane
Standard Colors for Metal
10 Year TPO Membrane Roofing Warranty

## Estimate - CSI
ESTIMATE
| PROJECT: | Support Services Building |  | COMPANY:
| ADDRESS: | 15200 Neabsco Mills Rd. |  | PHONE NO.:
|  | Woodbridge, VA 22191 |  | ADDRESS:
| SYSTEM: | Roofing
| WORK AREA: | All (new construction)
| DIVISION: | 7 (CSI), D (Uniformat) |  | ESTIMATOR:
| Gross SF: | 8359 |  | DATE: |  | 2014-10-22
DESCRIPTION | QUANTITY | UNIT | MATERIALS | LABOR | SUB | TOTAL COST
Mobilization | 1 | EA | 300 | 300 | 400 | 1000
Fall Protection | 1 | LS | 1500 | 600 | 0 | 2100
Dumpster | 1 | EA | 100 | 300 | 350 | 750
Power/Generator | 1 | MTH | 500 | 100 | 0 | 600
Lift or Crane | 1 | MTH | 375 | 4000 | 6000 | 10375
Standing Seam Metal Roofing |  | SF |  |  |  |  | ArchEx & CSI
Standing Seam Metal Siding Panels |  | SF |  |  |  |  | ArchEx & CSI
Snowguards |  | LF |  |  |  |  | ArchEx & CSI
TPO Membrane Roofing |  | SF |  |  |  |  | ArchEx & CSI
Overflow Drain Tongues | 5 | EA | 500 | 150 | 0 | 650
Gutters | 191 | LF | 1146 | 1146 | 0 | 2292
Downspouts | 70 | LF | 420 | 420 | 0 | 840
Cast Iron Boots |  | EA |  |  |  |  | ArchEx & CSI
SUBTOTALS |  |  | 4841 | 7016 | 6750 | 18607
LABOR BURDEN ON LABOR | 40% | %
SMALL TOOLS |  | % |  |  |  |  | ArchEx & CSI
TOTAL DIRECT COST
OVERHEAD |  | % |  |  |  |  | ArchEx & CSI
PROFIT |  | % |  |  |  |  | ArchEx & CSI
INSURANCE & BOND |  | % |  |  |  |  | ArchEx & CSI
SALES TAX ON MATERIAL | 5.3% | %
TOTAL COST
Assumptions:
10% Waste on Metal
8% Waste on Membrane
Standard Colors for Metal
10 Year TPO Membrane Roofing Warranty

## Estimate - ArchEx
ESTIMATE
| PROJECT: | Support Services Building |  | COMPANY:
| ADDRESS: | 15200 Neabsco Mills Rd. |  | PHONE NO.:
|  | Woodbridge, VA 22191 |  | ADDRESS:
| SYSTEM: | Roofing
| WORK AREA: | All (new construction)
| DIVISION: | 7 (CSI), D (Uniformat) |  | ESTIMATOR:
| Gross SF: | 8359 |  | DATE: |  | 2014-10-22
DESCRIPTION | QUANTITY | UNIT | MATERIALS | LABOR | SUB | TOTAL COST
Mobilization | 1 | EA | 300 | 300 | 400 | 1000
Fall Protection | 1 | LS | 1500 | 600 | 0 | 2100
Dumpster | 1 | EA | 100 | 300 | 350 | 750
Power/Generator | 1 | MTH | 500 | 100 | 0 | 600
Lift or Crane | 1 | MTH | 375 | 4000 | 6000 | 10375
Standing Seam Metal Roofing |  | SF |  |  |  |  | ArchEx & CSI
Standing Seam Metal Siding Panels |  | SF |  |  |  |  | ArchEx & CSI
Snowguards |  | LF |  |  |  |  | ArchEx & CSI
TPO Membrane Roofing |  | SF |  |  |  |  | ArchEx & CSI
Overflow Drain Tongues | 5 | EA | 500 | 150 | 0 | 650
Gutters | 191 | LF | 1146 | 1146 | 0 | 2292
Downspouts | 70 | LF | 420 | 420 | 0 | 840
Cast Iron Boots |  | EA |  |  |  |  | ArchEx & CSI
SUBTOTALS
LABOR BURDEN ON LABOR | 40% | %
SMALL TOOLS |  | % |  |  |  |  | ArchEx & CSI
TOTAL DIRECT COST
OVERHEAD |  | % |  |  |  |  | ArchEx & CSI
PROFIT |  | % |  |  |  |  | ArchEx & CSI
INSURANCE & BOND |  | % |  |  |  |  | ArchEx & CSI
SALES TAX ON MATERIAL | 5.3% | %
TOTAL COST
Assumptions:
10% Waste on Metal
8% Waste on Membrane
Standard Colors for Metal
10 Year TPO Membrane Roofing Warranty

## Company Unit Price Database
Company Unit Price Database
Division |  | Description | Materials | Labor | Sub | Cost In-Place | Units
Division 01 — General Requirements
Insurance and Bond Rates
|  | Trade |  |  |  | Rate
|  | General Contractor |  |  |  | 5% | Percent of Direct Cost
|  | Excavation: |  |  |  | 4% | Percent of Direct Cost
|  | Masonry: |  |  |  | 3% | Percent of Direct Cost
|  | Carpentry: |  |  |  | 3% | Percent of Direct Cost
|  | Roofing: |  |  |  | 5% | Percent of Direct Cost
|  | Electrical: |  |  |  | 5% | Percent of Direct Cost
|  | Plumbing: |  |  |  | 5% | Percent of Direct Cost
|  | HVAC: |  |  |  | 5% | Percent of Direct Cost
|  | Painting and Decorating: |  |  |  | 2% | Percent of Direct Cost
|  | Paving: |  |  |  | 3% | Percent of Direct Cost
Division 7 — Roof Coverings
|  | Mobilization | 300 | 300 | 400 |  | EA
|  | Fall Protection | 1500 | 600 | 0 |  | EA
|  | Dumpster | 100 | 300 | 350 |  | EA
|  | Power/Generator | 500 | 100 | 0 |  | MTH
|  | Lift or Crane | 375 | 4000 | 6000 |  | MTH
|  | Standing Seam Metal Roofing | 0.15 | 2.75 | 1.1 |  | SF
|  | Standing Seam Metal Siding Panels | 0.2 | 2.75 | 1.1 |  | SF
|  | Snowguards | 10 | 10 | 0 |  | LF
|  | TPO Membrane Roofing | 0.2 | 4.4 | 1.85 |  | SF
|  | Overflow Drain Tonuges | 100 | 30 | 0 |  | EA
|  | Gutters | 6 | 6 | 0 |  | LF
|  | Downspouts | 6 | 6 | 0 |  | LF
|  | Cast Iron Boots | 350 | 75 | 0 |  | EA

## Addendum 1
Addendum #1
Support Services Building
15200 Neabsco Mills Rd.
Woodbridge, VA 22191
2014-10-22
Item | Description
1 | On drawing Sheet S0; Section IV, CAST-IN-PLACE CONCRETE … change Item 6f to read:
f. FLYASH CLASS G: 25% MAXIMUM BY WEIGHT ASTM C618
2 | Switch Brick 1 with Brick 2.
3 | TPO Membrane Roofing Warranty shall be a 20 Year Warranty.
4 | Change all "3" Rain Water Drainage" to "4" Rain Water Drainage".
5 | Provide an additional 2% of the duct work as attick stock.
6 | Provide an additional 2% of the light fixtures as attic stock.
7 | " All lighting shall be as specified or equal with written prior approval ninety days in advance.
Substitutions will not be accepted".
8 | Bid Time shall be extended by 10 minutes

## Addendum 2
Addendum 2
Support Services Building
15200 Neabsco Mills Rd.
Woodbridge, VA 22191
Item | Description
1
2
3
4

## Sub 1 Proposal Sheet
Sub-Contractor Bid Form
Project:
Bidder:
Phone Number:
Bidder Address:
Roof Coverings Per Plans & Specs.
Addendum #1 Received: | Y / N
Addendum #2 Received: | Y / N
Total Bid: | $
Add: Furnish & Install Cast Iron Boots | $
Inclusions:
Standing Seam Metal Siding Panels
Exclusions:
Louvers, Mechanical Curbs, Fiberglass Sandwich Panel System
Signature of Authorized Agent:
Date:

## Sub 2 Proposal Sheet
Sub-Contractor Bid Form
Project:
Bidder:
Phone Number:
Bidder Address:
Roof Coverings Per Plans & Specs.
Addendum #1 Received: | Y / N
Addendum #2 Received: | Y / N
Total Bid: | $
Add: Furnish & Install Cast Iron Boots | $
Inclusions:
Standing Seam Metal Siding Panels
Exclusions:
Louvers, Mechanical Curbs, Fiberglass Sandwich Panel System
Signature of Authorized Agent:
Date:

## Sub 3 Proposal Sheet
Sub-Contractor Bid Form
Project:
Bidder:
Phone Number:
Bidder Address:
Roof Coverings Per Plans & Specs.
Addendum #1 Received: | Y / N
Addendum #2 Received: | Y / N
Total Bid: | $
Add: Furnish & Install Cast Iron Boots | $
Exclusions:
Louvers, Mechanical Curbs, Fiberglass Sandwich Panel System
Signature of Authorized Agent:
Date:

## Material Bid Proposal 1
CoverUp, LLC
305 Seaming Lane ~ Richmond, VA 23219 ~ 804-222-3455
Project Info: | Support Services Building
15200 Neabsco Mills Rd.
Woodbridge, VA 22191
Description
Standing Seam Metal Roofing & Siding Material | $1.10 per SF
TPO Membrane Roofing Material | $1.85 per SF
Includes Full Range of Colors for Metal
Add: 20 Year Warranty on TPO Membrane Roofing in lieu of 10 Year Warranty | 750
Deduct: Standard Colors for Metal in lieu of Full Range | 750

## Material Bid Proposal 2
DryIN Companies
45 ShedWater Avenue ~ Richmond, VA 23219 ~ 804-454-3890
| Project Info: | Support Services Building
15200 Neabsco Mills Rd.
Woodbridge, VA 22191
Item | Description
1 | Standing Seam Metal Roofing & Siding Material | $1.40 per SF
2 | TPO Membrane Roofing Material | $2.30 per SF
Includes Full Range of Colors for Metal
| Add: 20 Year Warranty on TPO Membrane Roofing in lieu of 10 Year Warranty | 750
| Deduct: Standard Colors for Metal in lieu of Full Range | 750

## Bogus Proposal
DryIN Companies
45 ShedWater Avenue ~ Richmond, VA 23219 ~ 804-454-3890
| Project Info: | Support Services Building
15200 Neabsco Mills Rd.
Woodbridge, VA 22191
Item | Description
1 | Standing Seam Metal Roofing & Siding Material | $1.40 per SF
2 | TPO Membrane Roofing Material | $2.30 per SF